## Sheet1
Analytical Validity- Performance Specifications for Comprehensive Genomic Profiling Checklist; Somatic and Germline (NGS-PF-002-v5)
Instructions: Please complete the following tables and answer the following questions as appropriate. Indicate "N/A" when not applicable.
1. Analytical validation summary table
Column | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Variant Type1 | Variant allele frequency range | Unique Samples | Unique Variants Expected2 | Unique variants detected | Concordant Unique Variants | Sensitivity/ Variant-level PPA (95% CI)3 | Specificity/ Variant-level NPA (95% CI) | Variant-level Reproducibility
SNVs
Indels ≤40bp
Indels >40bp
CNAs
CNAs (Gain/Loss)
SVs
SSVs
Other (fill in variant type)
Variant Type | result class/cutoff | Total samples tested | sensitivity | specificity | 95% CI | orthogonal method used | reported LOD | reportable range
MSI
TMB
Other (fill in variant type)
1Types = Single Nucleotide variant (SNV), Insertion/Deletion (INDELs), Copy Number Alteration (CNA), Structural Variant (SV), Splice-Site Variant (SSA), Tumor Mutation Burden (TMB), Microsatellite Instability (MSI)
2 For the purposes of this table, a “unique variant” may include the same variant (e.g., EGFR L858R) in different unique samples, or the same variant at different expected VAFs.
3 Use Jeffreys method
2. Clinical Validation Summary table
Column | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Variant Type1 | Variant allele frequency range | Unique Samples | Samples with no reportable mutations | Unique (Reportable) Mutations Expected2 | Unique (Reportable) Mutations detected | Concordant Reportable Mutations | Variant-level PPA (95% CI)3 | Variant-level NPA (95% CI) | Variant-level Reproducibility (95% CI)
SNVs
Indels ≤40bp
Indels >40bp
CNAs (nucleotide level)
CNAs (Gain/Loss)
SVs
SSVs
Other (fill in variant type)
| result class/cutoff | Total samples tested | sensitivity | specificity | 95% CI | orthogonal method used | reported LOD | reportable range
MSI
TMB
Other (fill in variant type)
1Types = Single Nucleotide variant (SNV), Insertion/Deletion (INDELs), Copy Number Alteration (CNA), Structural Variant (SV), Splice-Site Variant (SSA), Tumor Mutation Burden (TMB), Microsatellite Instability (MSI)
2 For the purposes of this table, a “unique variant” may include the same variant (e.g., EGFR L858R) in different unique samples, or the same variant at different expected VAFs.
3 Use Jeffreys method
3. Additional Questions:
Preanalytical
1. What are the sample types accepted for testing and validated on the platform? |  |  | A:
2. If somatic testing, what is the LoD for tumor cellularity? |  |  | A:
3. If germline, is a trio or comparitor required for analysis? |  |  | A:
Analytical
1. Describe Library quality criteria for reporting |  |  | A:
2. Describe variant quality criteria for reporting |  |  | A:
3. If this is a ctDNA test, how many molecules are required for reporting? |  |  | A:
4. What is the mean depth of coverage for this test? |  |  | A:
Post-Analytical
1. Who reviews and signs out these test results? |  |  | A:
2. How are controls utilized in this test? |  |  | A:
3. How do you ensure specimen integrity/ minimize contamination? |  |  | A:
4. How do you handle negative or QNS reports? |  |  | A:
5. How do you handle amended and corrected reports? |  |  | A: